## Features
Relay	AD2 Calibrate, Measure WG1	AD2 Calibrate, Measure WG2	AD2 Calibrate, Zero Scopes	AD2 Calibrate, Scopes to WG1	Current Excitation	Voltage Excitation
ext_src_sel-s					1	1
impa_sel_a					1	1
impa_sel_b					1	1
impa_sel_c
3x_gain_en					0	1
shunt_sel					computed
sense_sel					computed
cur_volt_mod_sel					1	0
shunt_sens_sel					computed
int_rst					1 → 0 toggle	1 → 0 toggle
ext_50_ohm
ext_meas_sel_b	1	0		0
ext_meas_sel_a	1	1	0	1
ext_single_diff			1	1
ext_acdc_n			1	1
ext_acdc_p		0	1	0
scope1_mux_a
scope1_mux_b			0	0
scope1_mux_c			1	1
scope2_mux			1	1
dut_sel_1
dut_sel_2
dut_sel_3
dut_sel_4
dut_sel_5
dut_sel_6
dut_sel_7
dut_sel_8
dut_sel_9
dut_sel_10
dut_sel_11
dut_sel_12
dut_sel_13
dut_sel_14
dut_sel_15
dut_sel_16

Set (1), Reset (0), Don’t Care ( ,x)

## Relay Locations
Designation	Relay	Top level	Imp analyzer	Ammeter and Charge Integrator	I/O and Panel	Scope meas Sel	Dut selector	All
K1	ext_src_sel-s	1						1
K2	impa_sel_a		1					1
K3	impa_sel_b		1					1
K4	impa_sel_c		1					1
K5	3x_gain_en			1				1
K6	shunt_sel			1				1
K7	sense_sel			1				1
K8	cur_volt_mod_sel			1				1
K9	shunt_sens_sel			1				1
K10	int_rst			1				1
K11	ext_50_ohm				1			1
K12	ext_meas_sel_b				1			1
K13	ext_meas_sel_a				1			1
K14	ext_single_diff				1			1
K15	ext_acdc_n				1			1
K16	ext_acdc_p				1			1
K17	scope1_mux_a					1		1
K18	scope1_mux_b					1		1
K19	scope1_mux_c					1		1
K20	scope2_mux					1		1
K21	dut_sel_1						1	1
K22	dut_sel_2						1	1
K23	dut_sel_3						1	1
K24	dut_sel_4						1	1
K25	dut_sel_5						1	1
K26	dut_sel_6						1	1
K27	dut_sel_7						1	1
K28	dut_sel_8						1	1
K29	dut_sel_9						1	1
K30	dut_sel_10						1	1
K31	dut_sel_11						1	1
K32	dut_sel_12						1	1
K33	dut_sel_13						1	1
K34	dut_sel_14						1	1
K35	dut_sel_15						1	1
K36	dut_sel_16						1	1

	Total	1	3	6	6	4	16	36